Galooli Telecom Training for ATC Uganda

## Course overview

The training curriculum is aimed at qualifying ATC Uganda Regional technical supervisors, engineers, SMPMS & vendors on Galooli Power System.

## Target Audience

## ATC Uganda regional and supervising technical support engineers and assistants

## Prerequisite

Basic Knowledge & work experience on Galooli Power System.

Ability to use a laptop for configurations and system analysis

## Duration

3 days

## Course objectives

By the end of the training the trainee will be able to:

- Understand Galooli system architecture and general device configurations

- Configure, calibrate, validate, monitor and replace fuel sensors.

- Understand device, hardware normal operational status and basic fault status.

Provide troubleshooting and preventative maintenance and recommend solutions to vendors.

| Topic | Description | Method | Trainer | Target Audience | Time |
| --- | --- | --- | --- | --- | --- |
| Day 1 |  |  |  |  |  |
| System Architecture | Basic Functionality Corona TR7z k2 and TR7Z Triton 5 architecture Normal Operational Status Configuration Device Firmware versions and software upgrades Operation & Maintenance Related troubleshooting | Presentation & Demo | Martin Emoit | Technicians & Support & Office Management | 2 Hours |
| Power Center | Architecture and main screen Functionality Configuration Serial configuration Ota Configuration troubleshooting | Presentation & Demo | Isiagi | Technicians & Support | 2 Hours |
| Practical Unit Configuration | Unit wiring Unit configuration | Hands On Practical | Martin Emoit | Technicians & Support | 1 Hour |
| Fuel Calibration | Preparation Types of fuel sensor Tools Safety Calibration Configuration | Presentation + Demo | Martin Emoit | Technicians & Support | 2 Hours |
| ZON Control for Technicians | - Create Unit - Configure Unit | Presentation + Demo + hands on | Helor Meroz | Technicians | 2 Hours |
| Day 2 |  |  |  |  |  |
| Practical Fuel Calibration | - Practice Fuel Calibration | Hands On Practical | Martin Emoit | Technicians & Support | 1 Hour |
| ZON Pro for Technicians | - Architecture - Overview - Basic Tabs - Device Configurations - IO and Event Configuration | Presentation & Demo | Geoffrey | Technicians & Support | 2.5 Hours |
| ZON Pro for Office Management | - Map - Panels - Dashboards - Reports - User Management | Presentation & Demo | Geoffrey | Office Management | 4 Hours |
| Day 3 |  |  |  |  |  |
| Device Integrations | - Rectifiers - Fuel Configuration - Corona Extensions - AC & DC Meters | Presentation & Demo | Martin Emoit | Technicians & Support | 2 Hours |
| Practical Device Integrations | - Configuration and Installation Practical | Hands On Practical | Martin Emoit | Technicians & Support | 2 Hours |
| Troubleshooting | - Addressing and troubleshooting issues - Working with Support | Presentation | isiagi | Technicians & Support | 2 Hours |
| Summary & Conclusions | - Summary - Conclusions | Discussion | Martin Emoit | Technicians & Support & Office Management |  |